## Slide 1
Technical Specifications:
Voltage
208V 480V 600V 3P
400 — 5000 kVA
60 Hz
1 Cycle – 16.6 Milliseconds
Up to 8%
Up to 8%
1007 mm [39.7"] and 608 mm [23.9"]
805 mm [31.7"] and 1014 mm [39.9"]
2002 mm [78.8"] and 1932 mm [76.1"]
Up to 8%
<0.1%
<0.1%
<0.1%
Infinite
Infinite
2-4% Typical Passive Improvement
Available 9 mode up to 200kA
99.5%Vi
0.5% THDv
UL 508A Pending , UL Field Cert
Infinite
Capacity
Frequency
Voltage Response Time
Power Factor Improvement
Surge Suppression
Efficiency
Harmonic Content
Agency Approval
Dimensions
  Width
  Depth
  Height
Voltage Boost
  Range
  Resolution
  Duration
Phase Balance
  Range
  Resolution
  Duration
Voltage Buck
  Range
  Resolution
  Duration